## Slide 1
Top side (power supply)
Drill 3-3.2mm ⌀ holes
(1/8”)
Exhaust
Side

## Slide 2
Left side (fan side)
Cut 115.6mm (4.5”) ⌀ inner circle
Drill 4.0-4.3mm ⌀ outer holes
(11/64”)

## Slide 3
Right side (exhaust side)
Cut 115.6mm (4.5”) ⌀ inner circle
Drill 4.0-4.3mm ⌀ outer holes
(11/64”)

## Slide 4
Bottom side (Arduino, alarm)
Drill 3-3.2mm ⌀ holes
(1/8”)
Exhaust
Side

## Slide 5
Top side (power supply)
Drill 3-3.2mm ⌀ holes
(1/8”)
Exhaust
Side

## Slide 6
15mm
5/8”
USB
8.2mm
21/64”
8.2mm
21/64”
8.2mm
21/64”
8.2mm
21/64”
Digital I/O 1
Digital I/O 2
External Analog Input
Current Sense
On-Board Output
(Do not load)
8.2mm
21/64”
Analog Input 1
(diode)
Analog Input 2
14.3mm
9/16”
External
Thermistor
6mm
15/64
Bottom side
Back side (I/O connections)
3.2mm (1/8”) Ground
6mm (15/64”) for mono
8.2mm (21/64”) for BNC
8.2mm (21/64”) for LED(l)
LED
9.6mm
3/8”
8.2mm
21/64”
8.2mm
21/64”
8.2mm
21/64”
9.6mm (3/8”) for LED(r)
14.3mm (9/16”) for AC
15mm (5/8”) for USB

## Slide 7
Bottom side
Manual
Auto
LED Intensity
Overheat
Warning
Power
Front side (Controls)
**Drill keys first
7.2mm (9/32”) for pot
3.2mm (1/8”) for pot key
20mm(13/16”) AC switch
2.4mm (3/32”) AC key
5mm (13/64”) LED
6.4mm (1/4”) Toggle
2.2mm (3/32”) Toggle key
Fan Speed

## Slide 8
Front side (Controls)
**Drill keys first
7.2mm (9/32”) for pot
3.2mm (1/8”) for pot key
9.8mm(25/64”) SP4T
3.2mm(1/8”) SP4T key
20mm(13/16”) AC switch
2.4mm (3/32”) AC key
5mm (13/64”) LED
6.4mm (1/4”) Toggle
2.2mm (3/32”) Toggle key
375 nm
420 nm
530 nm
Off
LED Selector
LED Intensity
Fan
Power
Overheat
Warning
Manual
Auto